SPECIFICATIONS

A SUB-SURFACE ASPIRATING AERATION SYSTEM

1.0	GENERAL

1.1	DESCRIPTION

- Manufacturer shall furnish an aspirating aeration system capable of providing horizontal circulation of oxygenated water throughout complete aquatic systems.

- This shall be achieved without disturbing the sight lines or sound levels surrounding the aquatic environment.

- Water aerator will be _____ HP and be horizontally positioned floating on the surface _____ or out of sight on the bottom of the pond _____ (check one).

- A submersible motor shall draw in oxygen from above the water’s surface, through an air intake tube _______ or no air intake tube ______ (check one).

- The oxygen enters the propeller chamber where it is mixed with water rapidly at 2875 RPM by a specially designed propeller, which further breaks down the aspirated oxygen into fine bubbles _______ or not (check one).

- These bubbles are then thrust via the propeller into the water, providing horizontal circulation of oxygen.

1.2	AERATOR COMPONENTS DESCRIPTION

- Motor housing shall be Series 300 stainless steel.  1-5HP shall have a permanent Series 300 stainless steel electrical hub welded on the side of the housing to allow electrical cable entry. The 1/2HP shall have a Series 300 stainless steel electrical hub welded on the bottom of the housing to allow electrical cable entry.

- Propeller shall be a non-fouling, high efficiency precision machined formed using Series 300 stainless steel.  It shall be connected to the motor shaft by a stainless steel fastener.

- Propeller chamber shall be enclosed by a stainless steel intake screen. Screen shall be capable of keeping out any debris or fish which may impede the propeller’s performance.

- Intake screen shall be made of 20 Gauge, Series 300 stainless steel.  The screen shall have a minimum of 58% open area and have a minimum of 91 square inches (587 sq cm) of intake area.  The screen hole size shall vary according to the horsepower for which it is to be used on.

- Motor shall contain a Series 300 stainless steel shaft, incorporating a permanent split phase capacitor run on single phase and a polyphase induction run on three phase. The rotor shall be dynamically balanced and ball bearing supported. The stator windings shall be double dipped and baked with Class F insulation, designed for oil immersion operation.  The oil shall be a highly refined, mineral oil of food grade quality, specially formulated for lubrication.  It shall meet FDA regulations.  The oil shall provide continuous lubrication of bearings and internal seals and further function as an efficient heat transfer medium, allowing the motor to operate at 2875 RPM, at relatively low temperatures.  The motor shall be contained in the motor housing by a Series 300 stainless steel top plate.

- Seals used to protect the motor against water or oil leakage shall be a mechanical, rotating type assembly, composed of silicon carbide and Series 300 stainless steel.  All elastomers shall meet UL 778 and CE requirements.  This assembly shall then be encapsulated and protected within a Series 300 stainless steel cartridge assembly.

- Discharge chamber shall be Series 300 stainless steel and attached to motor housing with stainless steel brackets.  It shall be either top-fitted with an air inlet pipe capable of having an intake hose reach the surface (Air Injector model) or not (HydroMixer model).  See 1.7.

- Floats shall be made of linear low density polyethylene. Four Series 300 stainless steel C-channel rails shall be welded to the framework for float mounting. Unit is mounted to float with Series 300 stainless steel mounting brackets and adjusting brackets so that the mounting angle can be adjusted without removing the unit from the float or water.  A semi-rigid base plate made of minimum 1/2 inch (1.27cm) polypropylene shall be used for fixed based mounted units.  Aerator shall be attached to base plate with Series 300 stainless steel brackets capable of being adjusted without removing unit from base.

- Fasteners and clamps, etc. shall be made of corrosion resistant Series 300 stainless steel.

- Underwater power cable shall be UL Listed and CE Recognized and specifically designed for underwater use.  The conductors are flexible, stranded copper wire sized for the amp draw and length of run.  The conductors shall be resistant to oil, water and cracking.  Power cable shall be fitted with a cable strain relief device, located within 5 feet (1.52m) of motor housing, capable of being attached to the S hook mounted on the motor housing clamp.  This will ensure that no potential damage can occur to any cable connections, due to tension on the cable.

- Underwater power cable disconnect shall be located approximately three feet from the motor housing.  It is a two piece molded assembly made of thermoplastics, meeting UL 778 requirements. The cap end shall be permanently connected to the underwater pin and socket connector (see Section 1.2 Item J.).  The body end of the disconnect shall be permanently attached to the underwater power cable and sealed with an approved compound.  This is intended to prevent water entry if damage should occur to the cable.  The disconnect shall be sealed with an internal o-ring and by an external Series 300 stainless steel clamp ring, which can be easily opened.

- Underwater Pin and Socket Connector (1-5HP) shall consist of a Series 900 IP68 pin and socket connector.  It shall be of a 4 pin configuration rated 32 amps at 600 volts AC.  The pin end shall be potted into a Series 300 stainless steel 90° adapter elbow with an approved ridged epoxy.  This assembly shall be permanently attached to the Series 300 stainless steel hub that is welded onto the side of the Series 300 stainless steel motor housing.  The socket end shall be attached to a 36” (91.44cm) piece of UL Listed underwater power cable.  It shall be permanently secured to the UL Listed power cable by means of an integrated clamp and Series 300 stainless steel screws.  It shall be completely epoxied to prevent entry of water or any other foreign matter. The other end of this assembly is permanently attached to the cap end of the underwater cable disconnect.  It is sealed with a flexible potting compound.

1/2HP shall consist of a Series 900, IP68 pin and socket connector.  It shall be of a 4 pin configuration rated 32 amps at 600 volts AC.  The pin end shall be potted into a Series 300 stainless steel straight bell-shaped adapter with an approved ridged epoxy.  This assembly shall be permanently attached to a reinforced braided hose assembly, a Series 300 stainless steel motor housing.  This complete assembly shall be sealed with an approved flexible potting compound.  The socket end shall be attached to a 36” (91.44cm) piece of UL Listed underwater power cable.  It shall be permanently secured to the UL Listed power cable by means of an integrated clamp and Series 300 stainless steel screws.  It shall be completely epoxied to prevent entry of water or any other foreign matter.  The other end of this assembly shall be permanently attached to the cap end of the underwater cable disconnect.  It shall be sealed with an approved flexible potting compound.

1.3	(OPTIONAL) ELECTRICAL CONTROL PANEL COMPONENTS DESCRIPTION

- Electrical enclosure shall be NEMA 3R type, gray in color.  Panel shall be both lock and mount capable.

- GFCI breaker shall provide overload and short circuit protection, combined with Class A ground fault protection.

- Control breaker shall provide overload protection and be capable of disconnecting all incoming electricity from the control panel.

- Motor contactor shall provide a means for disconnection of all motor leads.  It shall be a magnetic, across the line starter type.

- Overload assembly shall provide overload protection and phase loss protection by means of a solid-state motor protector relay.  It is adjustable over the listed full load amperage draw of the motor.  It shall have a visual trip indicator, test button and manual/automatic reset modes.

- Timer shall be a single pole type, rated at 220 Volts, 20 Amps, capable of a timing cycle, in 30 minute increments up to 24 hours.

1.4	SAFETY TESTING CONTROL PANEL

The (optional) electrical control panel shall be tested and approved as a complete unit and constructed to CE guidelines to attain the CE Mark.  It is inspected and listed by Underwriters Laboratories, Inc. under Category 508: Industrial Control Panels and Category 778: Submersible Aerators and Aerating Fountain Pump Systems.

1.5	COLD WEATHER OPERATION

Unit must operate 24 hours per day and be installed in a minimum of 6 feet (1.83m) of water.  Do not install in ponds with liners where temperatures drop below 32 degrees Fahrenheit     (0 degrees Celsius).

1.6	SAFETY TESTING

The sub-surface aspirating aeration system shall be tested and approved as a complete unit.  This approval must meet Underwriters Laboratories Inc. requirements in compliance with 1) Category 508: Industrial Control Panels and Category 778: Submersible Aerators and Aerating Fountain Pump Systems 2) have attained the CE Mark.  Individual component testing and wet niche environment equipment approval are not acceptable.

1.7	ACCEPTABLE MANUFACTURER

The sub-surface aspirating aeration system shall be an ULTIMAX SERIES AERATOR, Air Injector Model #_____________ and/or Hydromixer Model # _______________, Floating  ____ or Fixed Based Mounted _____ (check one) as manufactured by AQUAMASTER® FOUNTAINS AND AERATORS, 16024 CTH X, Kiel, WI  53042, (920) 693-3121, or approved equal.

1.8	INSTALLATION

All AQUAMASTERR® ULTIMAX SERIES AERATORS are designed and built to be installed with an AQUAMASTER® UL Listed control panel and has attained the CE Mark and to be operated as a complete system.  Any alterations to or substitution for items in this system, unless allowed by the installation instructions, will void the UL Listing, CE Mark and will void the product warranty.  It may also create a hazardous installation.  Read the instructions thoroughly before starting the installation and follow them carefully throughout.

1.9	WARRANTY

All 1 - 5HP AQUAMASTER® ULTIMAX SERIES AERATORS motors and 3 year seal assemblies are covered under warranty at 100% replacement costs should it fail due to defects in materials or workmanship for a period of 3 years from the date of shipment, when given normal and proper usage as determined by the seller upon examination, and when owned by the original user.  All 1/2 HP motors have a 2 year warranty.

- ELECTRICAL CONTROL PANEL WARRANTY

All electrical control panels and their components have a 1 year warranty.

| TECHNICAL DATA |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| REFERENCE MATERIAL FOR SECTION 2.0 DETAILED INFORMATION |  |  |  |  |  |  |
| TABLE 1: Ultimax® Air Injector and HydroMixer Float Mounted Performance Specifications (Add prefix “H” for HydroMixer models) |  |  |  |  |  |  |
| Model Number | HP | Voltage and Phase | Running Amp Draw | Minimum Operating Depth | Maximum Operating Depth | Ship Weight |
| F50-6400 | 1/2 | 220V – 1PH | 3 | 2 feet (0.6m) | unlimited | 70 lbs 32 kgs |
| F50-6410 | 1 | 220V – 1PH | 10 | 3 feet (1m) | unlimited | 300 lbs 136 kgs |
| F50-6410-3 |  | 220 – 230V - 3PH | 5.8 |  |  |  |
|  |  | 380 – 415V - 3PH | 2.9 |  |  |  |
| F50-6420 | 2 | 220V - 1PH | 12.5 | 3 feet (1m) | unlimited | 300 lbs 136 kgs |
| F50-6420-3 |  | 220 – 230V - 3PH | 8 |  |  |  |
|  |  | 380 – 415V - 3PH | 4 |  |  |  |
| F50-6430 | 3.5 | 220V - 1PH | 19 | 3 feet (1m) | unlimited | 300 lbs 136 kgs |
| F50-6430-3 | 3 | 220 – 230V - 3PH | 10 |  |  |  |
|  |  | 380 – 415V - 3PH | 5 |  |  |  |
| F50-6450 | 5 | 220V - 1PH | 28 | 3 feet (1m) | unlimited | 300 lbs 136 kgs |
| F50-6450-3 |  | 220 – 230V - 3PH | 18 |  |  |  |
|  |  | 380 – 415V - 3PH | 9 |  |  |  |

| TABLE 2: Ultimax® Air Injector and HydroMixer Fixed Base Mounted Performance Specifications (Add prefix “H” for HydroMixer Models) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Model Number | HP | Voltage and Phase | Running Amp Draw | Minimum Operating Depth | Maximum Operating Depth | Ship Weight |
| F50-B6400 | 1/2 | 220V – 1PH | 3 | 3 feet (1m) | 10 feet (3m) | 70 lbs 32 kgs |
| F50-B6410 | 1 | 220V – 1PH | 10 | 3 feet (1m) | 10 feet (3m) | 300 lbs 136 kgs |
| F50-B6414-3 |  | 220 – 230V - 3PH | 5.8 |  |  |  |
|  |  | 380 – 415V - 3PH | 2.9 |  |  |  |
| F50-B6420 | 2 | 220V - 1PH | 12.5 | 3 feet (1m) | 10 feet (3m) | 300 lbs 136 kgs |
| F50-B6420-3 |  | 220 – 230V - 3PH | 8 |  |  |  |
|  |  | 380 – 415V - 3PH | 4 |  |  |  |
| F50-B6430 | 3.5 | 220V - 1PH | 19 | 3 feet (1m) | 10 feet (3m) | 300 lbs 136 kgs |
| F50-B6430-3 | 3 | 220 – 230V - 3PH | 10 |  |  |  |
|  |  | 380 – 415V - 3PH | 5 |  |  |  |
| F50-B6450 | 5 | 220V - 1PH | 28 | 3 feet (1m) | 10 feet (3m) | 300 lbs 136 kgs |
| F50-B6450-3 |  | 220 – 230V - 3PH | 18 |  |  |  |
|  |  | 380 – 415V - 3PH | 9 |  |  |  |